# APPENDIX D – RFQ PARTICULARS

## A. THE DELIVERABLES

Fleming College is seeking responses to this opportunity for supplying a 2” X 4” downdraft table for use in our grinding room at our ABS studio, 149 Mallard Road, Haliburton, Ontario.  This downdraft table will be used to filter exhaust air when students are cutting and grinding.

Specifications:

Product #DD-2x4-015N1-WGD

- Industrial grade

- 1.5 HP motor

- Single phase/60Hz

- 1500 CFM airflow

- 340fpm Face Velocity

- Reverse-pulse filter self-cleaning system

- Rotary starter with 15ft cord

- 14ga. mild steel construction

- Nano-fiber Filter Primary Filter

- Metal-Mesh Pre-Filter

- 4 lockable casters

- Side and back walls

- Metal mesh pre-filter

- Grounding lug

## B. MATERIAL DISCLOSURES

- Purchases are subject to Budget Approval

- Delivery is requested on or before October 31, 2017.

- Shipping location is as follows:

Haliburton Campus

297 College Drive

Haliburton, ON

K0M 1S0

Attn: John Currie

- The College shall be relieved of all risks of loss and damage to equipment and supplies during periods of transportation and during the time the equipment is in possession of the College until acceptance of the equipment by the College. At such time, the risk of loss or damage shall be passed to the College.

C. MANDATORY SUBMISSION REQUIREMENTS

### 1.	Submission Form (Appendix B)

Each quotation must include a Submission Form (Appendix B) completed and signed by an authorized representative of the respondent.

### 2.	Pricing (Appendix C)

Each quotation must include pricing information that complies with the instructions contained in Pricing (Appendix C).

### 3.	Other Mandatory Submission Requirements

N/A

## D. MANDATORY TECHNICAL REQUIREMENTS

N/A

## E. PRE-CONDITIONS OF AWARD

N/A

## F.  ACCESSIBILITY FOR ONTARIANS WITH DISABILITIES (AODA)

Fleming College is committed to the highest possible standards for accessibility. The Supplier must be capable to recommend and deliver, as appropriate for each Deliverable, accessible and inclusive Products and Services consistent with the Ontario Human Rights Code (OHRC), the Ontarians with Disabilities Act, 2001 (ODA) and Accessibility for Ontarians with Disabilities Act, 2005 (AODA) and its regulations in order to achieve accessibility for Ontarians with disabilities.