## Sheet1
HIGH HAZARD LAB - MONTHLY INSPECTION
Name of Lab & Room Number(s): |  | Date:
Name of Lab Technologist(s):
Name of Inspector(s) if different from above:
√ = compliance X = non compliance NA = not applicable
Compliance Item: | Observation | Comments
GENERAL LAB ORGANIZATION
Are H&S Boards updated as required?
Are all exits and doorways clear of obstructions?
Are all walkways free and clear from debris and obstructions?
Are trench covers in good condition with no tripping hazards?
Are work surfaces in good condition? (no lips or cracks in the floor)
Are floor surfaces free of water, oil or other fluids?
Are there any noticeable leaks?
Are walkways unobstructed?
Are E-Stops unobstructed and operational?
Are Fire Extinguishers unobstructed? (Was the last monthly inspection completed on the tag?)
Are walls, ceilings, doors and windows in good condition?
Are all lights working and in good condition?
Are hydronic/radiant floor manifolds in good repair?
Are broken tools/equipment/machinery removed from service and/or lock+tagged out?
Are all workstations tidy and clear of hazards?
Are shared tool boxes/storage clean and organized?
Is the ear plug dispenser stocked?
Are cabinets closed and locked?
Is signage current/updated? (exit signs, e-stops labelled, high voltage, first aid, eye wash, fire extinguisher, emergency phone, etc.)
Are the work benches, chairs/stools in good condition?
Are environmental conditions comfortable? (temperature, humidity, lighting, noise, offensive odours, etc.)
HYGIENE
Hand soap available at sink(s)?
Lab soap available at sink(s)?
Paper towels available and near sink(s)?
Safe storage of personal effects?
No food and drink present in lab?
Long hair restrained?
No exposed skin below the waist, and no tank tops or crop tops.
No evidence of pests (insects, rodents, etc)
WHMIS AND HAZARDOUS MATERIALS MANAGEMENT
SDS readily accessible via Binder or eBinder
Current WHMIS standards posted
Hazardous waste labels and log available
All hazardous waste are labelled clearly
Sharps disposal container
Proper disposal of all wastes collected regularily
CHEMICAL PRODUCTS
Are all gas line shutoffs and air line shutoffs visible and accessible?
Main natural gas valve locked shut off when not in use
No gas leaks on compressed gas cyclinder(s) after completing soap test
Current carbon dioxide concentration displayed on monitor less than 1000ppm
Maximum Carbon dioxide concentration displayed on monitor less than 1000ppm
Flammable storage cabinet clean, organized, and not overcrowded
Spill trays or basins are clean and in good condition
Proper chemical segregation in cabinets
Containers labelled and in good condition
Containers firmly closed
Flammables away from ignition sources
PERSONAL PROTECTIVE EQUIPMENT (PPE)
Safety glasses worn in labs if mandatory for the space?
Hard hat worn in labs if mandatory for the space?
Safety footwear worn in labs if mandatory for the space?
PPE available in sufficient sizes and quantities (ear plugs, dust masks if applicable)
PPE adequately stored to not be contaminated (ear plugs, dust masks)
EMERGENCY MEASURES
First Aid kits available and stocked
Are the First Aid Kit seal broken? If yes, are the contents clean and tidy? Contents within their expiry date? Contents re-stocked?
Are First Aid Kits unobstructed?
Current floor plan/ evacuation map posted
College-wide emergency procedures posted
Are Emergency Phones unobstructed and operational?
Emergency phone numbers listed near phone
Carbon Monoxide (CO) detectors working properly
Chemical spill protocol available
Chemical spill kit available and stocked
Extra spill supplies available
Emergency eyewash flushed monthly by Security (check affixed tag)
Are Emergency Eye Wash Stations unobstructed?
Emergency shower tested 3x annually (check tag)
Fire extinguisher available and inspected monthly
Class D fire extinguisher available
Fire blanket available
ELECTRICAL SYSTEMS, EQUIPMENT & MACHINERY
Are Electrical Panels unobstructed (1m clearance in front) and in good condition?
Are cables and wiring secured and in good condition?
Are electrical outlets in good condition?
No wires under doors or pinched?
Are extension cords and power bars maintained in safe operating conditions, tidy and stored correctly? (No daisy chains)
No extension cords used as permanent wiring?
Equipment adequately ventilated?
Is there sufficient area around machines or equipment to enable easy access?
Are machine guards in place on all operating equipment (as required)?
Is there a maintenance log in the work area or available electronically?
Is overheard crane safety checklist book in the proper location (welding only)?
Are gas rooms properly locked and key in proper location (welding only)?
Are gas rooms exhaust fan running properly (welding only(?
Do all gas/oxygen bottles have safety caps on (welding only)?
MATERIAL HANDLING & STORAGE
Are appropriate manual material handling aids readily available?
Is material handling equipment in good condition? (Forklift, pumpcart, etc)
Are chains around gas cylinders? Piping racks?
Are items placed neatly and securely on shelves and not overhanging?
Are items stacked too high on racking or floor?
Are heavy items stored on top of cabinets?
Are heavy items stored below shoulder height if lifting manually?
Is racking over 5' secured to the wall or floor?
Are rolling carts in good working condition and not overloaded?
Are ladders available for access to higher shelves and in good condition?
FUME HOODS / DUST COLLECTORS / VACUUMS
Building dust/fume/exhaust collection system(s) functioning as intended?
Portable dust/fume/exhaust collection system(s) functioning as intended?
Fume hoods have sufficient flow
Proper functioning of low flow alarms
Are filters clean and in good condition?
Are vacuums in good condition (filters)?
ADDITIONAL COMMENTS: